VOLUME 2 - RULES AND REGULATIONS

Part A - Rules and Regulations

Table of Contents

1.	General Conditions	  1

1.1	Introduction	  1

1.2	Validity	  1

1.3	Definitions	  2

2.	Water and Sewer Services	  5

2.1	General Policy	  5

A.	Easement Costs	  5

B.	Lack of Capacity	  5

C.	Prohibition on Free Service	  5

D.	System Expansion	  5

2.2	Mandatory Sewer Connections	  5

2.3	Mandatory Water Connections	  6

2.4	Connections when Utility Capacity is Available and Infrastructure Constructed	  6

2.5	Connections when Utility Capacity is Available but Infrastructure Not Yet Constructed	  7

2.6	Connections when Capacity and/or Source are Not Available	  7

2.7	Construction Planning and Funding Responsibilities	  8

2.8	Application for Service	  8

A.	Application Submittal	  8

B.	Application Information	  8

C.	Applications Requiring Construction	  9

D.	Right to Refuse Service	  9

2.9	Water/Sewer lateral responsibility	9

2.10	Disposition of Applications	  9

3.	Acquisition of Facilities	 10

3.1	New Systems	 10

A.	Operating Guarantees	 10

B.	Construction Standards	 10

C.	Construction Progress Inspections	 10

D.	Final Inspections	 10

E.	Approval of New Construction	 11

F.	Waiver of Liens	 11

G.	Title Conveyance	 11

H.	Construction Warranty	 12

I.         Authority Ownership	 12

3.2       Acquisition of Existing Systems	 12

A.    Policy	 12

B.    Approach	 13

C.   Capital Deficiency Assessment	 14

D.   Investigation Costs	 15

4.          System Surcharges	 16

4.1       Connection Surcharges	 16

A.   Applicability	 16

B.    System Limits	 16

C.    Surcharge Determination	 16

4.2       Usage Surcharges	 16

A.    Applicability	 17

B.     System Limits	 17

C.    Surcharge Determination	 17

5.         Use of Water Facilities	 18

5.1       Withdrawl Prohibited without permission	18

5.2       Cross Connection and Backflow Prevention	 18

5.3       Violations-Penalties	18

5.4       Pressure and Continuity of Supply	 18

A.     Storage	 18

B.      Low Water Pressure	 18

C.     High Water Pressure	 18

D.     Water Hammer	 19

E.      Service Interruptions	 19

F.     Water Rationing	 19

5.5       Public Fire Hydrants	 19

A.     Indemnification	 19

B.      Restrictions	 19

5.6       Discontinuation of Water Service	 19

A.     Account Delinquency	 20

B.      Tampering	 20

C.     Backflow Prevention	 20

6.         Use of Sanitary Sewer Facilities	 21

6.1       Discharge Prohibited Without Permit	 21

6.2       Grease, Oil and Sand Traps	 21

6.3       Pre-Treatment	 21

6.4      Violations-Penalties	 21

6.5      Measuring Devices	 21

6.6      Discontinuation of Sewer Service	21

7.	Service Connection Allocation Requirements	 22

7.1	General	 22

A.	Connection Fee	 22

B.	Connection Fee Determination	 22

C.	Minimum Meter Size	 22

D.	Connection Reservation	 22

E.	Connection Assignment	 22

F.	Connection Period	 22

G.	Non-Refundability	 22

H.	Purchase Timing	 23

I.	Base Service Fees	 23

J.	Connection Default	 23

K.	Connection Fee Credit	 23

L.	Relinquishing Unconnected Service	 23

7.2	Residential	 23

7.3 	Commercial	 23

8. 	Oversizing Policy	 25

8.1	Definition	25

8.2	Authority Actions	 25

A.	Reimbursement Authority	 25

B.	Developers Agreement	 25

C.	Incremental Costs	 25

D.	Proportional Reimbursement	 25

E.	Ten Year Limitation	 25

VOLUME 2 - RULES AND REGULATIONS

Part A - Rules and Regulations

1.	General Conditions

1.1	Introduction

The purpose of this Part is to establish rules and regulations for the Nelson County Service Authority (hereinafter the "Authority") of Nelson County, Virginia in accordance with Sections 15.1-1239 through 15.1-1270, inclusive of the Code of Virginia of 1950, as amended, and which are applicable to the public water and sanitary sewerage facilities now existing or which may, in the future, be under the jurisdiction of the Authority.  This Part establishes the rules and regulations which govern the use of the public water and sanitary sewerage facilities when such utilities are proposed for use for residential, business, commercial, or industrial purposes within Nelson County, Virginia.

Inquiry for information or clarification of any item herein pertinent to other matters concerning these facilities shall be directed to the Executive Director, Nelson County Service Authority, Post Office Box 249, Lovingston, Virginia,  22949.

1.2	Validity

If any section, subsection, sentence, clause, or phrase of these rules and regulations is for any reason held to be invalid, such decision shall not affect the validity of any other part of the rules and regulations which can be given effect without such invalid part of parts.

No statement or obligation contained in this Part shall be construed to interfere with any additional requirements which may be imposed by County Ordinances, Commonwealth of Virginia, Department of health, or the State Water Control Board.  In accordance with applicable statutes of the Code of Virginia the Authority may revise these rules and regulations as may be required by majority vote of the Authority.

In the event of any variance between the rules and regulations in this publication and applicable rules, regulations, and specifications of the State Department of Health or the State Water Control Board, it shall be understood that any such rules, regulations, and specifications of said State agencies shall prevail unless more rigid requirements are dictated by these regulations.

1.3	Definitions

Unless the context specifically indicates otherwise the meaning of terms 	used herein shall be as follows:

A.	Applicant		 - shall mean any person or entity requesting water and/or 	sewer service from the Authority.

B.	Authority		 - shall mean the Nelson County Service Authority or its 	authorized and/or delegated representative.

C.	Availability - The right of a subscriber to connect to the water and/or 	sewer system of the Authority upon payment of all applicable rates, 	fees and charges.

D.	Board		 - shall mean the Board of Directors, the governing body of 	Nelson County Service Authority.

E.	Commercial User		 - shall mean all non-residential users.

F.	Connection Fees		 - All fees appropriate to the class of service being 	purchased, that must be paid before full service is initiated, 	including, but not limited to connection fees, installation fees, meter 	fees, review fees, etc.

G.	County		 - shall mean the County of Nelson, Virginia.

H.	Domestic Wastes		 - shall mean the water-carried liquid or solid 	wastes which are derived principally from residential dwellings and 	commercial buildings.

I.	Facilities of the Authority		 - shall mean any and all component and 	pertinent parts of the entire utility system of the water and sanitary 	sewerage facilities under the jurisdiction of the Authority, including 	but not limited to the County, or any public agency of Nelson 	County, such as water mains and their appurtenances, water storage 	tanks, filtration or treatment facilities and pumping station, sewers 	and their appurtenances, sewage pumping stations and treatment 	plants, including these items and others now constructed, installed, 	leased, operated or maintained by the Authority, or any which may 	be leased, operated or maintained by the Authority, or any which may be approved and accepted in the future as additions or extensions of the systems.

J.	Industrial Wastes		 - shall mean the water-carried liquid or solid wastes from institutional establishments and industrial plant processes as distinct from domestic wastes.

K.	May		 is permissive, or conditional.

L.	Non-Potable or Raw Water		 - shall mean water classified as unsuitable for human consumption.

M.	Owner, Developer, or Subdivider		 - shall mean any person, firm, partnership, corporation, association, society or group owning or having an interest, whether legal or equitable, sole or partial, in any premise or tract, lot or parcel of land which is or may be in the future developed or subdivided.

N.	Person		 - shall mean any individual, firm, partnership, corporation, association, society, group, and unit of local, state or federal government.

O.	Potable or Finished Water		 - shall mean water classified as suitable for human consumption.

P.	Premise		 - shall mean any building or group of buildings, or any tract, lot or parcel of land upon which buildings are to be constructed and which is or may be served by the facilities of the Authority.

Q.	Sanitary Sewerage Facilities		 - shall mean all facilities for the collection, pumping, transmission, treatment, and disposal of sewage or wastewater.

R.	Service Area		 - shall mean the territory included within the boundaries of each or all of the areas of Nelson County designated by the Board of Supervisors in which the Authority has been authorized to provide and regulate existing and future water and/or sanitary sewerage facilities.

S.	Sewer Main or Sewer Line		 - shall mean a pipe or conduit for the collection and transmission of sewage or wastewater.

T.	Shall		 is mandatory.

U.	Subscriber		 - shall mean any person or entity connected to the water and/or sewer system of the Authority.

V.	Wastewater or Sewage		 - shall mean any combination of domestic 	and industrial wastes together with any groundwater, surface water 	or storm water that may be present.

W.	Wastewater Treatment Plant or Sewage Treatment Plant		 - shall mean 	any arrangement of devices and structures used for the treatment of 	sewage or wastewater.

X.	Water Filtration Plant or Water Treatment Plant		 - shall mean any 	arrangement of devices and structures used for the treatment and/or 	purification of non-potable or raw water.

Y.	Water Main or Water Line		 - shall mean a pipe or conduit for 	transmission or distribution of potable or finished water.

Z.	Waterworks or Water Facilities Improvements		 - shall mean all 	facilities for the treatment and/or purification of non-potable or raw 	water and the transmission, pumping, and distribution of potable or 	finished water.

2.	Water and Sewer Services

2.1	General Policy

A.	Easement Costs		 - Applicants shall pay expenses, including but not limited to surveying, plat preparation, legal, recordation and purchase costs incurred by the Authority in obtaining easements which may be required from adjacent land owners to effect a physical connection of the Applicant's property to the facilities of the Authority, and the Applicant shall assist Authority in obtaining such easements.

B.	Lack of Capacity		 - No commitment of future service will be made by the Authority to an applicant in an area where adequate flow and pressure or wastewater treatment capacity is not available in the system.

C.	Prohibition on Free Service		 - The Authority will not provide free service to any user of the water and/or sewer systems, nor waive any fees normally charged to such users for service.

D.	System Expansion		 - Nothing contained in these Rules and Regulations shall be construed to limit or prevent the Authority from extending or supplementing its facilities whenever it is determined that circumstances so warrant.

2.2	Mandatory Sewer Connections	 - The owner of any building or structure for which sewage disposal is required existing but substantially remodeled as determined by the Authority or the Office of Building Inspections for Nelson County or constructed subsequent to passage of these Rules or Regulations, shall be required to connect such building or structure to the public sewer, provided that said building or structure is within three hundred (300) feet of approved Authority owned and/or operated public sewer service.  In addition, if any privy system or individual sewage disposal or individual treatment system is found by the county health department to have become unsanitary or malfunctioning, it shall be unlawful for any person to replace or repair any such system or any part thereof in any manner to improve its operating conditions if sewer service is within three hundred (300) feet of any building or structure which such privy or individual sewage disposal or individual treatment system served; provided, that it shall not be unlawful to make emergency repairs to clean out so as to permit use of the facilities pending connection to the public or private sewer, provided such connection is made in the most expedient manner and provided the health department is notified of such connection or temporary repairs; and provided further that individual sewer disposal systems that serve property adjacent to a force main sewer line can be replaced, repaired or cleaned, notwithstanding that 	provisions hereof, subject to county health department approval.  It is 	further provided that the owner of any building or structure for which 	sewage disposal is required and which is connected to public sewer shall 	not disconnect the building or structure from such public or private sewer.

  - 2.3	Mandatory Water Connections -  The owner of any building or structure for 	which potable water supply is required existing but substantially 	remodeled as determined by the Authority or the Office of Building 	Inspections for Nelson County or constructed subsequent to passage of 	these Rules or Regulations, shall be required to connect such building or 	structure to the public water, provided that said building or structure is 	within three hundred (300) feet of approved Authority owned and/or 	operated public water service.  In addition, if any private water system is 	found by the county health department to have become unsanitary or 	malfunctioning, it shall be unlawful for any person to replace or repair any 	such system or any part thereof in any manner to improve its operating 	conditions if water service is within three hundred (300) feet of any building 	or structure which such private water system served; provided, that it shall 	not be unlawful to make emergency repairs to permit use of the facilities 	pending connection to the public water system, provided such connection is 	made in the most expedient manner and provided the health department is 	notified of such connection or temporary repairs.  It is further provided that 	the owner of any building or structure for which water is required and 	which is connected to public water supply system shall not disconnect the 	building or structure from such public water supply system.

2.4	Connections when Utility Capacity is Available and Infrastructure 	Constructed	 - The Owners of all residential dwellings, commercial 	buildings, industrial plants, institutional establishments, structures and 	properties used for human occupancy, business, employment, recreation or 	other purposes or those who have been directed by the Board of 	Supervisors of Nelson County to obtain or provide central water or sewer 	service for their project or development, shall be required to:

A.	Request water and/or sewer service by application to the Authority 	on a prescribed form,

B.	Install suitable toilet, drain and other disposable liquid wastes facilities therein;

C.	Connect such facilities directly with the public sewer or water facility.

2.5	Connections when Utility Capacity is Available but Infrastructure Not Yet Constructed	 -The Developer of any new residence, subdivision or commercial or industrial site located where Authority owned and/or operated public water facilities and/or sanitary sewerage facilities are available, shall be required to:

A.	Obtain one copy of the Rules and Regulations and Utility Standards of the Authority;

B.	Request both public water and sewer service by application to the Authority.  The Authority will notify the Developer, within 30 calendar days of receipt of the application, as to whether or not the services requested can be provided;

C.	Construct, at the expense of the applicant, water main or sewers as deemed by the Authority to be either necessary, feasible or advisable to connect the applicable systems of the subdivision or development to the suitable facilities of the Authority.  Regardless of whether the Authority decides to participate in the development, the plans and specifications of any proposed central water and sewer system shall be in conformance with these Rules and Regulations and Utility Standards and subject to approval and subsequent construction inspection of the Authority;

D.	Complete a Developers Agreement between the applicant and the Authority, if deemed necessary by the Authority, detailing the financial responsibilities, location and details of necessary construction, deed transfers and easement considerations;

E.	Complete, subsequent to the construction of such facilities, transfer of ownership of the new facilities to become the property of the Authority.

2.6	Connections when Capacity and/or Source are Not Available	  -  The Authority reserves the absolute right to impose specific and temporary limits on new connections to its water and/or wastewater systems when, from time to time and in its sole opinion, treatment capacity or source is limited.  To correct this deficiency, the Authority may elect to enter into an appropriate Developer's Agreement for the construction of such additional capacity as needed, may elect to develop such capacity itself or may determine that such expansion of capacity is not in the best public interest.

2.7	Construction Planning and Funding Responsibilities	 - Where a developer, 	builder, contractor, or property owner requires and builds a water/sewer 	line extension or expansion of existing facilities to serve either residential or 	non-residential developments, the following shall apply:

A.	Said applicant shall, at the time of filing, file therewith a preliminary 	detail statement of plans, specifications, potential number of 	customers, fixture counts, route, long term expansion plans and any 	other matters deemed to be helpful to the Authority, together with 	proof of financial responsibility and such other information as may 	be requested by the Authority, in order to secure estimates for the 	overall project cost.

B.	Applicants shall pay for the entire construction cost of all 	water/sewer line extensions for whatever size lines the Authority 	determines are necessary to serve the proposed development, but in 	no case less in size than six inches in diameter for water and eight 	inches in diameter for sewer.

2.8	Application for Service

A.	Application Submittal		 - Application for services will be available at 	the Authority's Office, during business hours.  These prescribed 	forms shall be completed and submitted to the Authority at least 	seven days before a new connection is desired to be made.  Specific 	examples of forms and detailed processing procedures can be found 	in Volume 3, Part C Developer Services Procedures of the 	Authority's Operating Code.

The Authority shall accept, review and render decisions on all 	applications for public water and/or sanitary sewer service to the 	premises described in the applications from any persons who are 	owners, contract owners, legal representatives of the owners, or 	tenants of land within Nelson County.

B.	Application Information		 - Applications for water and/or sewer 	services shall be made on a form prescribed and furnished by the 	Authority for the purpose of such application.  Each form shall be 	accompanied by any measurements, maps, drawings or other such 	data that will clearly establish and indicate the physical location of 	the premise for which the application is submitted.  If the proposed 	or physical location of the available service is known, it shall be 	indicated on the same map, drawing or data submittal.  Drawings shall have a minimum scale of one inch equals 100 feet.

Applications for industrial establishments shall also submit with their application written information regarding plant location, type of industry, raw and finished products, approximate magnitude of utility requirements, types of industrial wastes to be discharged, proposed facilities for pre-treatment of industrial wastes, and any other data pertinent to the industry's utility requirements.

C.	Applications Requiring Construction		 - Where construction of water and/or sanitary sewerage facilities is required, the submittal requirements outlined in the Utility Standards must be followed.

D.	Right to Refuse Service		 - The Authority reserves the right to approve, revise and request additional data, design or other information, or to disapprove any service application or plans pertinent thereof, as the opinion or best interest of the Authority may determine.

2.9	Water/Sewer laterals responsibility

The responsibility of maintaining a water and sewer lateral will be that of 			the owner of such laterals until the said lateral joins with an existing 				established water or sewer main. It is the customer’s responsibility of 			maintaining their water or sewer service lateral even though it may egress 			their property and ingress and adjoining property.

The Nelson County Service Authority will be responsible where any two or 			more laterals join together making that system a water or sewer main.

2.10	Disposition of Applications

A.  	On receiving the application for service, the Authority will approve, with or without revisions, or disapprove the application, to indicate the decision of the Authority and return one copy of each of the submitted items to the Applicant.

B.	The applicant receiving a returned application marked with revisions, shall conform strictly with the notations indicated thereon by the Authority.

C.	The procedures outlined in the Developer Services and Utility Standards of the Authority will be followed for processing applications.

3.	Acquisition of Facilities

3.1	New Systems

A.	Operating Guarantees		 - If the potential exists that the initial 	connections to the water and sewerage system are insufficient to 	support the operation and maintenance cost incurred by the 	Authority, the developer or owner shall provide such guarantees in 	the form of sureties or other negotiable instruments as agreed by 	both parties, to insure support of the operation and maintenance cost 	until sufficient connections are supporting the system.

B.	Construction Standards		 - The builder, developer, or contractor shall 	install, at the sole expense of the applicant, the water/sewerage 	facilities system, including meters, all to the Utility Standards and 	subject to approval of the Authority.

C.	Construction Progress Inspections		 - During progress of the work, the 	Authority and/or its authorized representative, inspectors, or others 	who are directly concerned with the work shall have access to the 	locations of construction for the purpose of establishing to their 	satisfaction that the projects are being constructed to the Authority's 	requirements and in accordance with approved plans and 	specifications.

D.	Final Inspections		 - At the completion of any construction project of 	water or sanitary sewerage facilities, the Developer or Owner 	responsible for construction shall notify the Authority in writing that 	the project has been completed.

(1)	Certificate of Completion - A Professional Engineer registered 	in the Commonwealth of Virginia shall seal and sign a letter 	certification stating that the facilities have been constructed in 	accordance with the approved plans and specifications and 	with these Rules and Regulations and the Utility Standards.  	The Developer's or Owner's letter of notifications shall be 	accompanied by the Engineer's letter of certification, all as-	built plans, final specifications and other such data and 	addenda relative thereto as may be required by the Authority.

(2)	Field Inspection - On receipt of such notification of 	completion and as-built plans, and on written request of the 	Developer or Owner responsible for the construction, the Authority shall make a final comprehensive inspection of the completed facilities, including detailed examination of conformance of the work with the approved plans and/or specifications, alignment of sewers, infiltration, leakage, workmanship, operation of equipment, and other related items to the satisfaction and best interest of the Authority.  The Developer or Owner or responsible representative shall accompany the authorized agent of the Authority and shall furnish whatever labor as may be necessary to conduct the final inspection.

(3)	Defects - Deficiencies which are found to exist during the inspection shall be pointed out to the Developer or Owner's representative.  Subsequent to the inspection, the Developer or Owner will be furnished, in writing, a summary of the deficiencies found and corrections which are required. On notification that all such deficiencies have been corrected, the Authority will reinspect all corrected work prior to approval of the facilities.

E.	Approval of New Construction		 - The Authority will approve newly constructed water and sanitary sewer service facilities on satisfaction of the following conditions:

(1) 	That all requirements of the foregoing Sections 3.1 (A) through (D) have been fulfilled.

(2)	That, in the case of water mains, physical disconnection, by actual removal of any connecting mains, has been made from any and all other private systems.

(3)	That all matters relative to specific contracts between the Developer or Owner and the Authority are in order.

(4)	That payment has been made by the Developer or Owner of all fees relative to applications and inspections.

F.	Waiver of Liens		 - The developer shall submit to the Authority a fully executed waiver of mechanics lien form signed by all contractors, subcontractors and suppliers who performed work or supplied material for the facilities.

G.	Title Conveyance		 - The developer shall in good and sufficient form, free of encumbrances and at no cost to the Authority, convey fee simple title to the facilities to the Authority with all requisite easements for the operation and 	maintenance of the facilities, by deed with General Warranty and 	English Covenants of Title, in accordance with the Nelson County 	Subdivision Ordinance and the procedures and requirements 	detailed and found in Volume 3, Part C Developer's Services 	Procedures of the Authority's Operating Code.

H.	Construction Warranty		 - The developer shall be responsible for and 	obligated to correct any deficiencies in the construction of the 	facilities for a period of one year from date of conveyance of the 	Facilities to the Authority by deed as above required.  These 	requirements shall also be applied to facilities to be constructed in 	conjunction with site plan approval and the Nelson County Zoning 	Ordinance.

I.	Authority Ownership		 - Upon compliance with the above, the 	Authority shall thereafter supply, maintain, service, and operate said 	system and collect all fees from said system, and user chargers, 	according to its existing Schedule of Rates, Fees and Other Charges 	as may be amended from time to time (Volume 2, Part B of the 	Authority's Operating Code).

3.2	Acquisition of Existing Systems

A.	Policy

(1)	General  -  From time to time, the Authority is asked to 	purchase existing water and/or wastewater systems within 	Nelson County.  In accordance with its charter, it is the policy 	of the Authority to acquire only those existing water and 	wastewater systems which will enhance the Authority's 	overall operation.  As the construction and operation of 	existing systems may not be within Authority standards, the 	subsequent acquisition of these systems demand a more 	detailed evaluation and consideration than those systems 	built for and immediately assumed by the Authority.  For 	favorable consideration, systems proposed for acquisition by 	the Authority will usually have the following characteristics:

(a)	They will be adjacent to or reasonably close to an 	existing Authority system to permit connection with 	only limited infrastructure construction;

(b)	They will not be an added financial burden to existing Authority customers;

(c)	Acquisition by the Authority will have the support of a majority of the current users of the system to be acquired;

(d)	The new customers can and will pay the monthly operating and maintenance rates in effect for all of the Authority systems.

(2)	Specific  -  The following considerations will be used when evaluating system acquisitions:

(a)	Existing Infrastructure  -  The Authority will generally not pay for existing distribution or collection systems as these costs have already been recovered by the developer in the sale to individual property owners.

(b)	Water Source  -  On a case by case basis and at its sole determination, the Authority will pay an amount determined by the Authority for capacity at an existing water source that exceeds the capacity required for the existing and potential customers served or to be served by such source.

(c)	Treatment Capacity  -  On a case by case basis and at its sole determination, the Authority will pay an amount determined by the Authority for existing treatment capacity that exceeds the capacity required to serve the existing and potential customers of the system to be acquired.

(d)	Availability Fees  -  In those cases where water source and/or treatment capacity of the system to be acquired is inadequate, the owner of the system may be required to pay or arrange for a payment that is adequate, in the opinion of the Authority, to reimburse it for capacity in the Authority's systems.

(e)	Transaction Costs  -  Transaction costs (if any), including, but not limited to the Authority's consulting, legal, engineering and conveyancing costs, will be borne solely by users and/or owner of the system to be acquired.

B.	Approach

(1)	Acquisition Steps  -  While every acquisition is a unique process 	whose merits must be individually evaluated, a number of 	steps are normally undertaken before an existing system will 	be accepted for ownership and operation by the Authority.

(a) 	Identification  -  The initial phase of the acquisition 	strategy includes the evaluation of the existing system 	by the staff and/or outside consultants.  This phase 	seeks to create an accurate picture of the layout, sizing, 	condition, performance and operating costs of the 	existing system.  In addition, existing and required 	easements are identified.  Finally, the cost to bring the 	system up to Authority standards is quantified.

(b)	Negotiations  -  Agreement is reached between the 	system owner and the Authority for its acquisition 	during this phase.  Also during this phase, the cost to 	be borne by system owner, a Capital Deficiency 	Assessment (CDA) is identified.

(c)	Closure and Administration  -  Final closure of the sale 	will require the exchange of fees, titles and deeds to 	land and equipment and the initiation of service to the 	area by the Authority.

(2)	Right of Refusal  -  The Authority maintains an absolute right 	to refuse acquisition of any and all existing systems that, in its 	sole judgement, it determines are not suitable for connection 	to the Authority's systems or which would place a financial 	burden on the existing customers of the Authority's system.

C.	Capital Deficiency Assessment

(1)	Definition  -  A Capital Deficiency Assessment is a one time 	charge to the current owner of a water and/or wastewater 	system being acquired by the authority.

(2)	Purpose  -  The purpose of the CDA is to pay for those capital 	investments which the Authority will be required to make to 	connect the system and to bring it up to Authority 	construction and operating standards.

(3)	Payment Period  -  Capital Deficiency Assessments shall be 	paid in full at the time of system acquisition.

D.	Investigation Costs

(1)	Definition  -  Initial investigation costs shall include all anticipated costs required to obtain a reasonably accurate estimate and evaluation of the existing system.  These costs may include, but are not limited to, staff evaluation time, flow testing, surveying, title search, legal opinion, professional engineering analysis, etc.  During the identification phase of the acquisition process, the Authority and system owner will collectively identify the degree and method of investigation needed to obtain a true picture of the system.  In addition, a cost cap will be agreed for these investigative services.

(2)	Responsibility  -  The owner of the system being proposed for acquisition pays all investigation costs.  The Authority will make an attempt to accurately estimate such costs but the system owner bears full responsibility for paying the actual costs and will agree to payment of these charges before an analysis will be undertaken by the Authority.

(3)	Refunds  -  Costs for the evaluation of an existing system are not refundable should the Authority elect not to, or is unable to, acquire the system.  The cost of investigation may, however, be added to the Capital Deficiency Assessment should the Authority decide to proceed with the acquisition.

4.	System Surcharges

4.1	Connection Surcharges	  -  Where the Authority constructs facilities for 	public utility service and normal connection charges, as set forth and as 	revised from time to time, for capacity, treatment plant construction cost or 	water source costs are insufficient to pay for such extensions, the Authority 	may assess a surcharge to the cost of availability for users of such 	extensions.  Such surcharge shall be as fixed by the Authority's Schedule of 	Rates, Fees and Other Charges which may be amended from time to time 	and shall be sized to off-set the additional expense of system construction 	within this designated area.

A.	Applicability		 - The additional connection charge shall be applicable 	to all users of the extended system and shall continue in effect until 	such extension is paid for and/or the Authority deems the revenues 	from the users of such extension to be sufficient to pay the 	installation costs of such extension.

B.	System Limits		 - The Authority shall designate the infrastructure to 	which this provision shall apply prior to such line being placed in 	service.

C.	Surcharge Determination		 - At such time the Authority shall 	determine the additional fee to be charged in such cases; and all 	applicants of these facilities shall be charged the same amount so 	long as the additional connection charge herein set forth remains in 	effect.  The additional availability fee shall be determined by 	considering the potential number of connections resulting from such 	new plant, the costs of the additional treatment capacity or water 	source required, and other matters as the Authority may deem 	pertinent.

4.2	Usage Surcharges	  -  Where the cost of operating and maintaining a water 	and/or wastewater system are significantly more costly than the norm, due 	to regulatory requirements, labor, material or power costs or other 	impacting requirements, the Authority shall designate that portion of the 	system impacted by such extraordinary costs and shall apply an additional 	surcharge to the customers served by this portion of the system.  Such 	surcharge shall be as fixed by the Authority's Schedule of Rates, Fees and 	Other Charges which may be amended from time to time and shall be sized 	to off-set the additional expense of system operations within this designated 	area.

A.	Applicability		 - The additional usage charge shall be applicable to all users of the extended system and shall continue in effect until such extension is paid for and/or the Authority deems the revenues from the users of such extension to be sufficient to pay the installation costs of such extension.

B.	System Limits		 - The Authority shall designate the infrastructure to which this provision shall apply at the time the surcharge is imposed.

C.	Surcharge Determination		 - At such time the Authority shall determine the additional fee to be charged in such cases; and all applicants of those facilities within the designated area shall be charged the same amount so long as the additional usage charge herein set forth remains in effect.  The usage surcharge shall be determined by considering the additional cost of operating and maintaining the utility service in the designated system.

5.	Use of Water Facilities

5.1	Withdrawl Prohibited without permit - Except as permitted in the Rules 	and Regulations of the Authority, or under conditions specifically approved 	in writing by the Authority, no persons shall withdraw any water from the 	water system of the Authority.  All users must first obtain a valid permit 	from the Authority allowing for said withdrawl of water from the systems.

5.2	Cross Connection and Backflow Prevention	  -  The provisions of NCSA 	Operating Code, Volume 2, Part C, Cross-Connection Control Plan shall 	apply.

5.3	Violations-Penalties	 - Any person violating the provisions of Section 5.1 and 	5.2 herein shall be guilty of a misdemeanor punishable by fine not 	exceeding $1,000 or by imprisonment not exceeding twelve months or by 	both such fine and imprisonment.  Each day such violation continues shall 	constitute a separate offense.  The Authority, in addition to other remedies 	may institute an appropriate action or proceeding, at law or in equity, to 	prevent violation or attempted violation, to restrain, correct and abate such 	violation or to prevent any act which would constitute such a violation of 	the provisions of Sections 5.1 and 5.2 herein.

5.4	Pressure and Continuity of Supply	 - The Authority will strive to provide, 	but cannot guarantee, a sufficient or uniform pressure, or an uninterrupted 	supply of potable water.

A.	Storage		 - Customers are cautioned to maintain a sufficient water 	storage where an absolutely uninterrupted supply must be assured, 	such as for steam boilers, domestic hot water systems, gas engines, 	etc.

B.	Low Water Pressure		 - Where the system water pressure is lower than 	desired, the customer may install at his own expense a tank and/or 	booster pump with the appropriate backflow prevention as 	approved by the Authority.

C.	High Water Pressure		 - Where the water pressure exceeds 80 psi the 	customer should install at his own expense, a proper pressure 	regulating device to reduce the water pressure as required by the 	applicable Council of American Building Officials-1&2 (CABO) 	Family Dwelling or Building Officials Code Administrators (BOCA) 	codes.

D.	Water Hammer		 - The Authority reserves the right to require the Owner or customer to adjust, modify or remove from the premise any quick opening or closing valve or other device, the operation of which results in any unreasonable fluctuation in the pressure of the system.

E.	Service Interruptions		 - It is the intention of the Authority to provide advance notice of interruption of the water supply.  Such notice however, is only a courtesy and not a requirement.  The Authority may shut off the water mains for the purpose of making connections, alterations, repairs, changes or for other reasons at any time.  Subscriber's buildings must have internal facilities and/or plumbing fixtures which will not be damaged if water mains are shut off without notice.

F.	Water Rationing		 - The Authority may restrict the use of its potable water to reserve a sufficient supply as the public health and/or public welfare may, from time to time, require.  The Authority shall have sole discretion in determining when such restrictions are required.

5.5	Public Fire Hydrants

A.	Indemnification		 - The Authority does not guarantee fire flow in its systems and shall not be responsible for, nor considered in any manner to be an insurer of persons or property against injury, loss or damage by fire, water, failure to supply water or pressure, or any other cause whatsoever.

B.	Restrictions		 - Water from any public fire hydrant shall not be used for construction purposes, sprinkling streets, flushing sewers or gutters, or for any purpose other than the fighting of fires by County authorized units, unless specifically permitted by the Authority for a particular circumstance.  Upon written request, the Authority may install supplemental public fire hydrants at the sole expense of any interested person.

5.6	Discontinuation of Water Service	 - The Authority may discontinue water service ten (10) days after written notification, delivered by regular first class mail to the last known address of record of the customer.  When water service to a customer has been terminated, other than for the temporary vacancy of a premise, it will be renewed only after the condition, circumstances, or practices which caused the water service to be discontinued are corrected to the satisfaction of the Authority and upon payment of all charges due and payable by the customer in accordance with these Rules and Regulations and the effective Schedule of Rates, Fees and Other Charges.  Discontinuing the supply of water to a premise for any reason shall not prevent the Authority from pursuing any lawful remedy for the collection of monies due from the customer.  The Authority may discontinue service for any 	of the following reasons:

A.	Account Delinquency		 - For the non-payment of any accounts for 	water service, sewer service or for any fee or charge accruing under 	these Rules and Regulations and the existing Schedule of Rates, Fees 	and Other Charges;

B.  	Tampering		 - For molesting or tampering by the customer, or others 	with the knowledge of the customer, with any meters, connections, 	service pipe, curb cock, seal, fixture, or any other appliance of the 	Authority controlling, regulating or protecting the customer's water 	supply;

C.  	Backflow Prevention		 - If a required backflow prevention device is 	not installed when such is required or if the device is inoperative, has 	been bypassed or removed or if a cross-connection exists on the 	premises.

6.	Use of Sanitary Sewer Facilities

6.1	Discharge Prohibited Without Permit	 - Except as permitted in the Rules and Regulations and/or Pretreatment Regulations of the Authority, or under conditions specifically approved in writing by the Authority, no persons shall discharge any wastewater or sewage into the sanitary sewerage systems of the Authority, or its tributaries.  All users must first obtain a valid permit from the Authority allowing for said discharge of wastewater or sewage.

6.2	Grease, Oil and Sand Traps	 - The provisions of Volume 5, Part A Utility Standards shall apply.

6.3	Pre-Treatment	 - The provisions of Volume 2, Part D Pre-Treatment Regulations shall apply.

6.4	Violations-Penalties	 - Any person violating the provisions of Section 6.1 through 6.3 herein shall be guilty of a misdemeanor punishable by fine not exceeding $1,000 or by imprisonment not exceeding twelve months or by both such fine and imprisonment.  Each day such violation continues shall constitute a separate offense.  The Authority, in addition to other remedies may institute an appropriate action or proceeding, at law or in equity, to prevent violation or attempted violation, to restrain, correct and abate such violation or to prevent any act which would constitute such a violation of the provisions of Section 6.1 herein.

6.5	Measuring Devices	 - Subscribers of Authority Sewer services, but using private water supplies, shall be required to install a water meter, at their own expense, of a type and in a location approved by the Authority, to be used for sewer billing.

6.6	Discontinuation of Sewer Service - The Authority may discontinue sewer service ten (10) days after written notification, delivered by regular first class mail to the last known address of record of the customer.  Discontinuation may involve the physical removal of the customer's service lateral connection to the Authority's collection system.  When sewer service to a customer has been terminated, other than for temporary vacancy of a premise, it will be renewed only after the conditions, circumstances, or practices which cause the water service to be discontinued are corrected to the satisfaction of the Authority and upon payment of all charges due and payable by the customer in accordance with these Rules and Regulations and the effective Schedule of Rates, Fees and Other Charges.  Discontinuing sewer service to a premise for any reason shall not prevent the Authority from pursuing any lawful remedy for the collection of monies due from the customer.

7.	Service Connection Allocation Requirements

7.1	General

A.	Connection Fee		 - A Connection Fee will be charged to each new 	applicant to pay for the right to connect to the Authority's water 	and/or sewer system.

B.	Connection Fee Determination		 - The amount of Connection Fee 	required is defined by Authority policies, in accordance with 	regulatory requirements and is based on meter size and accepted 	engineering practices.  Meter size is determined by existing or 	planned fixture count, in accordance with the procedures set forth by 	the American Water Works Association AWWA Manual M-22, 	Sizing Water Service Lines and Meters .

C.	Minimum Meter Size		 - The minimum meter size for any unit is 5/8" 	x 3/4".

D.	Connection Reservation		 - Connections are sold on a first come, first 	serve basis.  However, the Authority reserves the right to limit the 	sale of Availability when in its sole determination, the safety of the 	system, economy of operation or public health so warrants.

E.	Connection Assignment		 - Connection is designated for and tied to a 	specific parcel of land and is not transferrable.  Said parcel(s) must be 	located within the boundaries of the respective Service District(s), as 	defined by the approved and current Nelson County Comprehensive 	Plan or such other rules or regulations as may be adopted by the 	Authority.

F.	Connection Period		 - Connection fee gives the owner a right to 	connect to the Authority's water and/or sewer system upon demand 	within the first 36 months following the date of purchase of the 	availability.  After 36 months, the timing of the connection to the 	system will be at the sole discretion of the Authority and could be 	delayed for a substantial period of time if system capacity or source 	is not available.

G.	Non-Refundability		 - Effective January 1, 1998, Connection fees are 	not refundable.  However, the Authority will refund without 	interest, within five years from the date the Authority authorizes the 	refund, 90% of any unconnected connection fee paid prior to January 1, 1998.

H.	Purchase Timing		 - An applicant may purchase Availability to the system at any time, but must be purchased prior to the Authority's approval for a building permit.

I.	Base Service Fees		 - Monthly Base Service Fees are charged to each Connection, beginning upon receipt of the Connection Fee and are not refundable.

J.	Connection Default		 - The Authority will remove without reimbursement, its connection commitment if the purchaser is in arrears of the Base Service Fee in excess of ninety days.  Once removed, availability may be reinstated to a parcel only through the purchase of new availability at the then existing rates.

K.	Connection Fee Credit		 - The Authority will only extend credit terms to individuals with existing homes where the drainfield or well has failed, for the purchase of system Availability.  Such credit will not exceed 48-months at an interest rate in accordance with its adopted Schedule of Rates, Fees and Other Charges as may be amended by the Authority from time to time.

L.	Relinquishing Unconnected Service		 - The owner of unconnected service may, at their discretion upon execution of the necessary release forms and with the concurrence of the Authority, relinquish all or a portion of their unconnected service without reimbursement or further cost to the Authority.

7.2	Residential

A.	The entirety of Section 7.1 shall apply to Residential properties.

B.	All residential units on the same parcel and under the same ownership may be served by one meter sized in accordance with AWWA Manual M-22.

C.	Each residential unit on the same parcel but under different ownership must be individually metered.

7.3 	Commercial

A.	The entirety of Section 7.1 and 7.2 shall apply to commercial properties.

B.	Apartment buildings and condominiums are classified as 	commercial properties for purposes of the allocation of water/sewer 	service and billing.  Each individual apartment building is required 	to have one master water meter for the entire building.  The meter 	will be used for purposes of tracking water usage and for billing the 	owner of the building for water and sewer service.  The owner of the 	apartment building or condominium will be billed monthly for water 	and sewer service to the building and will be fully responsible for 	payment.

C.	Other commercial properties will require at least one water meter for 	each building or for each parcel which ever is greater.  The total 	number of meters and the respective sizes for each commercial 	property will be determined by the Authority using available data, 	professional judgement and AWWA Manual M-22.  The owner of 	each commercial building will be billed monthly for water and sewer 	service to the building and will be fully responsible for payment.

D.	Each commercial building on a parcel must be separately metered.

Allocation Examples

Note:	The following table provides examples of the minimum number of individual water meters required to serve each parcel of land as defined by the Nelson County Tax Maps.  At least one meter for each parcel to be served is required.  Meter size is as determined by AWWA Manual M-22.

| Unit Type | Minimum Meter Requirements |
| --- | --- |
| 1. Single Family Dwelling (SFD) | 1-meter |
| 2. SFD + Guest Cottage | 1 meter |
| 3. SFD + Any commercial building | 1 meter for house + 1 meter for each commercial building |
| 4. Apartment Complex | 1 meter per building |
| 5. Townhouses | 1 meter per townhouse |
| 6. Condominiums | 1 meter per building |
| 7. Shopping Center | 1 meter per store |

8. 	Oversizing Policy

8.1	Definition	 - Applicants may be required to build infrastructure or facilities sized in excess ("oversizing") of the immediate needs of their specific subdivisions or projects, but in accordance with the requirements of Master Planning or other considerations determined by the Authority.

8.2	Authority Actions	 - The Authority shall:

A.	Reimbursement Authority		 - Reimburse the applicant for the excess costs resultant from required "oversizing";

B.	Developer's Agreement		 - Execute a Developer's Agreement with the applicant, specifying the terms and conditions of the oversizing agreement;

C.	Incremental Costs	 - Reimburse the applicant only for the incremental costs of the additional capacity created as verified by invoices and supporting documentation;

D.	Proportional Reimbursement		 - Reimburse only a proportional share of Connection Fee revenues resulting from actual sales of the additional capacity created in the designated area to be served;

E.	Ten Year Limitation	 - Continue reimbursement for a period of no longer than ten years after the infrastructure has been deeded to the Authority or until full repayment of the oversizing has been obtained.